{"text_format":"1","workbook":"xlsx","n_sheets":11,"sheets":["Liste de production","F.Debit Bon Comm.","MO Poteau B","MO Poteau H","MO Contrefiche B","MO Contrefiche H","MO Entrait","MO Arba","MO Panne","MO X Tirant","MO X Montant"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Liste de production","index":0,"n_rows":35,"n_cols":21,"rows_kept":35,"cut":false,"hidden":false,"merged":[[28,20,29,20],[21,19,22,19],[21,18,22,18],[4,20,6,20],[4,19,6,19],[21,20,23,20],[24,18,25,18],[24,20,25,20],[27,11,27,20],[8,11,8,20],[16,11,16,20],[18,11,18,20],[4,13,6,13],[4,14,4,15],[5,14,6,14],[4,16,6,16],[4,17,6,17],[4,18,6,18],[16,0,16,9],[4,11,6,11],[4,12,6,12],[31,11,31,20],[32,18,34,18],[32,19,33,19],[32,20,34,20],[28,18,29,18],[28,19,29,19],[5,15,6,15],[4,5,6,5],[8,0,8,9],[24,7,25,7],[28,7,29,7],[28,8,29,8],[21,8,22,8],[21,9,23,9],[21,7,22,7],[18,0,18,9],[27,0,27,9],[4,0,6,0],[4,1,6,1],[4,2,6,2],[5,3,6,3],[5,4,6,4],[4,3,4,4],[32,9,34,9],[28,9,29,9],[4,6,6,6],[4,7,6,7],[4,8,6,8],[24,9,25,9],[32,7,34,7],[32,8,33,8],[4,9,6,9],[31,0,31,9]]}
["Term TCB",null,null,null,null,null,null,null,null,{"$f":"TODAY()","v":"2015-09-14"},null,"Term TCB",null,null,null,null,null,null,null,null,{"$f":"TODAY()","v":"2015-09-14"}]
["Appenti sur Poteau",null,null,null,null,null,null,null,null,null,null,"Appenti sur Poteau"]
["Liste de production",null,null,null,null,null,null,null,null,null,null,"Liste de production"]
[]
["Nom","Matériau","Qt.","section [cm]",null,"Lg.\n[m]","Lg.arrondie à +0.5m","Lg. Commandee","Nb de barres","Total / section",null,"Nom","Matériau","Qt.","section [cm]",null,"Lg.\n[m]","Lg.arrondie à +0.5m","Lg. Commandee","Nb de barres","Total / section"]
[null,null,null,"l","Ret",null,null,null,null,null,null,null,null,null,"l","Ret"]
[]
[]
["Quincaillerie",null,null,null,null,null,null,null,null,null,null,"Quincaillerie"]
[]
["Tirefond M12","Acier zing.",16,null,null,0.14000000000000001,null,null,null,null,null,"Tirefond M12","Acier zing."]
["Boulon  M12","Acier zing.",4,null,null,0.18,null,null,null,null,null,"Boulon  M12","Acier zing."]
["Boulon M12","Acier zing.",6,null,null,0.2,null,null,null,null,null,"Boulon M12","Acier zing."]
["Ecrou M12","Acier zing.",10,null,null,null,null,null,null,null,null,"Ecrou M12","Acier zing."]
["Rondelle 13/30","Acier zing.",26,null,null,null,null,null,null,null,null,"Rondelle 13/30","Acier zing."]
[]
["Charpente",null,null,null,null,null,null,null,null,null,null,"Charpente"]
[]
["1/2 ferme sur poteau",null,null,null,null,null,null,null,null,null,null,"1/2 ferme sur poteau"]
["Entrait moisé","Epicéa",4,6,15,3.75,4,4,4,4,null,"Entrait moisé"]
["Panne","Epicéa",6,10,15,2.8,3,3,6,6,null,"Panne"]
["Contrefiche basse","Epicéa",2,10,20,1.2030000000000001,1.5,6,1,4,null,"Contrefiche basse"]
["Contrefiche haute","Epicéa",2,10,20,1.39,1.5,null,null,null,null,"Contrefiche haute"]
["Arbalétrier","Epicéa",2,10,20,5.3849999999999998,5.5,6,2,null,null,"Arbalétrier"]
["Poteau long","Epicéa",2,18,18,3.32,3.5,3.5,2,4,null,"Poteau long"]
["Poteau court","Epicéa",2,18,18,2.42,2.5,null,2,null,null,"Poteau court"]
[]
["Croix de saint-andré",null,null,null,null,null,null,null,null,null,null,"Croix de saint-andré"]
["Montant","Epicéa",4,8,12,1.2490000000000001,1.5,3.5,4,4,null,"Montant"]
["Tirant","Epicéa",4,8,12,1.919,2,null,null,null,null,"Tirant"]
[]
["Finition",null,null,null,null,null,null,null,null,null,null,"Finition"]
["Bandeau faitage","Epicéa",1,2,18,2.82,{"$f":"F33+0.15","v":2.9699999999999998},6,1,3,null,"Bandeau faitage"]
["Bandeau égoût","Epicéa",1,2,18,2.82,{"$f":"F34+0.15","v":2.9699999999999998},null,null,null,null,"Bandeau égoût"]
["Rive","Epicéa",2,2,18,5.4269999999999996,5.5,null,2,null,null,"Rive"]

{"sheet":"F.Debit Bon Comm.","index":1,"n_rows":13,"n_cols":13,"rows_kept":13,"cut":false,"hidden":false,"merged":[[4,12,5,12],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[12,10,12,11],[12,3,12,4],[4,5,5,5],[4,7,5,7],[4,8,5,8],[4,9,5,9],[4,4,5,4],[4,10,5,10],[4,11,5,11]]}
["Term TCB",null,null,null,null,null,null,"Term TCB"]
["Appenti sur Poteau",null,null,null,null,null,null,"Appenti sur Poteau"]
["Liste de commande",null,null,null,null,null,null,"Liste de commande"]
[]
["largeur \n[mm]","retombée\n[mm]","longueur barre\n[m]","quantité\n[u]","longueur totale\n[m]","volume\n[m3]",null,"largeur \n[mm]","retombée\n[mm]","longueur barre\n[m]","quantité\n[u]","longueur totale\n[m]","volume\n[m3]"]
[]
[30,190,6,3,{"$f":"D7*C7","v":18},{"$f":"A7*B7*C7*D7/1000000","v":0.1026}]
[70,160,4,4,{"$f":"D8*C8","v":16},{"$f":"A8*B8*C8*D8/1000000","v":0.1792}]
[110,160,3.5,10,{"$f":"D9*C9","v":35},{"$f":"A9*B9*C9*D9/1000000","v":0.61599999999999999}]
[110,210,6,3,{"$f":"D10*C10","v":18},{"$f":"A10*B10*C10*D10/1000000","v":0.4158}]
[200,200,3.5,4,{"$f":"D11*C11","v":14},{"$f":"A11*B11*C11*D11/1000000","v":0.56000000000000005}]
[]
[null,null,null,"Volume Total [m3]",null,{"$f":"F7+F8+F9+F10+F11","v":1.8735999999999999},null,null,null,null,"Volume Total [m3]"]

{"sheet":"MO Poteau B","index":2,"n_rows":2,"n_cols":6,"rows_kept":2,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]
[1,null,"Rabotage \n4 faces","Dimensions initiales = 20x20cm\nDimensions finies = 18x18cm\nPassage 1 : Ht = 19cm sur faces 1 et 2\nPassage 2 : Ht = 18cm sur faces 3 et 4","équerrage + cote","Installation servantes entrée et sortie de raboteuse"]

{"sheet":"MO Poteau H","index":3,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO Contrefiche B","index":4,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO Contrefiche H","index":5,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO Entrait","index":6,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO Arba","index":7,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO Panne","index":8,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO X Tirant","index":9,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]

{"sheet":"MO X Montant","index":10,"n_rows":1,"n_cols":6,"rows_kept":1,"cut":false,"hidden":false,"merged":[]}
["N°","Val","Phase","Cotes utiles - Schéma","Contrôle","Organisation spécifique"]